## Climate of vibration test machi
Equipment Test Ability List example case
No | Internal No | Name | Type | Parameter | Value | Calibration
1 | 13-02 | Climate chamber | SDJ605FAWK3-1200/70/5/V | Temperature | -70°C ~ 180°C | Temperature:'-50°C ~ 120°C
|  |  |  | Humidity | 10%~95%RH
|  |  |  | Chamber Size | 1100*1100*950mm (W*D*H)
|  |  |  | Temperature Change Rate | Heat: 5.5K/min
Cool: -4.5K/min
2 | 13-07 | Climate chamber | SDJ605FAWK3-1200/70/5/V | Temperature | -70°C ~ 180°C | Temperature:'-50°C ~ 120°C
|  |  |  | Humidity | 10%~95%RH
|  |  |  | Chamber Size | 1100*1100*950mm (W*D*H)
|  |  |  | Temperature Change Rate | Heat: 5.5K/min
Cool: -4.5K/min

## Vibration test machine
Equipment Test Ability List example case
No | Internal No | Name | Type | work mode | Parameter | Value | Calibration
1 | 13-01 | Vibration test machine | DC-4000-40 | Sine-V | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~5g
|  |  |  | Sine-H | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~5g
|  |  |  | Random-V | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~6g
|  |  |  | Random-H | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~6g
|  |  |  | machine shock-V | pulse width | 6~11ms | 50g,6ms 30g,6ms 25g,11ms
[5 empty] | Acceleration | 0~100g
|  |  |  | machine shock-H | pulse width | 6~11ms | 30g,6ms 25g,10ms
[5 empty] | Acceleration | 0~100g
2 | 13-06 | Vibration test machine | DC-4000-40 | Sine-V | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~5g
|  |  |  | Sine-H | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~5g
|  |  |  | Random-V | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~6g
|  |  |  | Random-H | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~6g
|  |  |  | machine shock-V | pulse width | 6~11ms | 50g,6ms 30g,6ms 25g,10ms
[5 empty] | Acceleration | 0~100g
|  |  |  | machine shock-H | pulse width | 6~11ms | 50g,6ms 30g,6ms 25g,10ms
[5 empty] | Acceleration | 0~100g
3 | 13-08 | Vibration test machine | DC-4000-40 | Sine-V | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~5g
|  |  |  | Sine-H | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~5g
|  |  |  | Random-V | Frequency | 2~2000HZ | 5~2500Hz
[5 empty] | Acceleration | 0~100g | 0~6g
|  |  |  | Random-H | Frequency | 2~2000HZ | 5~2500Hz
[5 empty] | Acceleration | 0~100g | 0~6g
|  |  |  | machine shock-V | pulse width | 6~11ms | 50g,6ms 30g,6ms 25g,10ms
[5 empty] | Acceleration | 0~100g
|  |  |  | machine shock-H | pulse width | 6~11ms | 30g,6ms 25g,10ms
[5 empty] | Acceleration | 0~100g
3 | 13-14 | Vibration test machine | IPA60H/M437A/GT800M | Sine-V | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~5g
|  |  |  | Sine-H | Frequency | 2~2000HZ | 5~2000Hz
[5 empty] | Acceleration | 0~100g | 0~5g
|  |  |  | Random-V | Frequency | 2~2000HZ | 5~2500Hz
[5 empty] | Acceleration | 0~100g | 0~6g
|  |  |  | Random-H | Frequency | 2~2000HZ | 5~2500Hz
[5 empty] | Acceleration | 0~100g | 0~6g
|  |  |  | machine shock-V | pulse width | 6~11ms | 50g,6ms 30g,6ms 25g,10ms
[5 empty] | Acceleration | 0~100g
|  |  |  | machine shock-H | pulse width | 6~11ms | 50g,6ms 30g,6ms 25g,10ms
[5 empty] | Acceleration | 0~100g